PROPOSED SPECIFICATIONS / FEATURES FOR ‘SAYA GOLD AVENUE’

- Project is being designed and conceived by world known Architect Hafeez Contractor

- Landscaping proposed  by famous Singapore based Architect

- 75% Green eco-friendly environment with Rainwater harvesting system

| WALL FINISH: |  |
| --- | --- |
| Internal Walls | Plastered, POP and painted in pastel shades of Plastic Emulsion |
| External Walls | Textured Paint |
| Ceiling | Ceiling with POP work in Drawing Room & white ceiling in all bedrooms |
| FLOORING: |  |
| Living & Dining | Vitrified Tiles (800 x 800) |
| Bedrooms | Vitrified Tiles (600 x 600) |
| Balconies | Ceramic Tiles |
| WOODWORK: | Wardrobes in all bedrooms |
| WASHROOMS: |  |
| Walls | Printed glazed ceramic tiles |
| Flooring | Non-skid ceramic tiles |
| Fittings | Premium quality CP fittings of Jaquar or equivalent make; Wall-mixture in one wash room; Granite counter & wash basin in one washroom; and EWC |
| DOORS & WINDOWS |  |
| Outer Doors/Windows | in AL/UPVC |
| Internal Doors | Wooden door frames of 8’ height made of maranti or equivalent wood |
|  | Laminated flush doors |
|  | Premium quality hardware fittings |
| KITCHEN | Wooden Modular Kitchen with branded accessories |
| Platform | Working platform in Granite top |
| Walls | Ceramic tiles above working platform |
| Fittings | Individual RO unit & Stainless steel sink |
| OTHERS |  |
| Car Parking | Double / Triple level car parking in Basement. |
| Power Back-up | DG power back-up as below: For 2 BHK – Not exceeding 4 KVA per apartment For 3 BHK – Not exceeding 5 KVA per apartment For 4 BHK – Not exceeding 6 KVA per apartment |
| Electrical | Modular switches & TV/Telephone points in all rooms |
| Water Supply | Water softening plant for general supply of water. |
| Security | Secured gated community. Security arrangements supported by CCTV Cameras & intercom facilities. |
| Plumbing | Quality plumbing with CPVC pipes. |
| Escalators | High speed elevators of an international brand in each tower. |
|  | Fire Fighting System. |

DISCLAIMER:  Specifications are indicative and subject to change as decided by the Company or competent authority. Marginal variations may be necessary during construction. The extent/number/variety of equipments/appliances and their make/brand are tentative and liable to change at sole discretion of the Company.